## DLC 1.2

Wind: NTM from 3 m/s – 25 m/s in 2 m/s bins with 6 different seeds

Time: 610 seconds

## DLC 1.3

Wind: ETM from 3 m/s – 25 m/s in 2 m/s bins with 6 different seeds

Time: 610 seconds

## DLC 1.4

Wind: ECD at +-v\_rated (+- 2m/s) and four different Azimuth angels

Time: 210 seconds with gust at 110 seconds

## DLC 4.2

Wind: EOG at

Other properties: normal shutdown at

Time: 210 seconds with gust at 110 seconds,

## DLC 5.1

Wind: NTM at +-v\_rated (+- 2m/s) and v\_cutout

Other properties: Emergency shutdown, Blade to 90°, Gen shutdown + manual brake

Time: 210 seconds + shutdown at 110 seconds + manual brake after half of the shutdown

## DLC 6.1

Wind: EWM50 at V50 (37 m/s) and Yaw misalignment of -8°,0°,8°

Other properties: Blade at 90°, Gen off

Time: 610 seconds